## Slide 1
Parallel flow Heat Exchanger
Counter flow Heat Exchanger

## Slide 2
Cold water 30°C
Cold water 50°C
Hot water 100°C
Hot water 90°C
Co Current Arrangement
Shell Side Pressure drop = 0.25 bar
Tube Side Pressure drop = 0.3 bar
Global Heat Transfer Coeff = 1000 W/m2 K
No heat loss

## Slide 3
Cold water 30°C
Cold water 50°C
Counter Current Arrangement
Shell Side Pressure drop = 0.25 bar
Tube Side Pressure drop = 0.3 bar
Global Heat Transfer Coeff = 1000 W/m2 K
No heat loss
Hot water 100°C
Hot water 90°C